Tier-1 Operations CASTOR -  8 Aug 2008

# Service Name

#### CASTOR

## Summary of week gone:

- Determine problem with castor-gridftp in 2.1.7-14 and work on solution

- Testing of 2.1.7-15 on certification testbed

- Continue investigations into xrootd problems

- Tape server migrations to 64-bit continued

## Developments

- Migration of cms, gen, and nameserver to Oracle RAC

- Upgrade to 2.1.7-15 on all instances, with kernel upgrades

- Xrootd investigations on hold for a week

- Work on additional puppet hosts for redundancy, test, and development; also web report of puppet hosts

- Continue migration of tape servers to 64-bit (2 servers remaining)

- Start building 64-bit SRMs

- Prepare puppet for deployment to atlasSpare

### Operational Issues and Incidents

| Not in Use (need number scheme?) | Description | Start | End | Severity | VOs Affected |
| --- | --- | --- | --- | --- | --- |
|  | Atlas transfer failures due to overload in castor | 8 Aug 01:30 | 8 Aug 16:00 | Failing SAM tests | Atlas |

## Summary of plans for week ahead:

### Scheduled and Cancelled Down Times:

#### Type=Down/At Risk/Cancelled entries in/planned to go to GOCDB

| Component | Description | Start | End | Type |
| --- | --- | --- | --- | --- |
| Nameserver, cms stager, cms srm, gen stager, gen srm | Migration to Oracle RAC | 11 Aug 07:30 | 11 Aug 15:30 | Down (all users) |
| CMS instance | Upgrade to 2.1.7-15 | 12Aug 7:30 | 12Aug 15:30 | Down |
| Gen instance | Upgrade to 2.1.7-15 | 11 Aug 7:30 | 11 Aug 15:30 | Down |
| Atlas instance | Upgrade to 2.1.7-15 | 13 Aug 7:30 | 13 Aug 15:30 | Down |
| LHCb instance | Upgrade to 2.1.7-5 | 14 Aug 7:30 | 14Aug 15:30 | Down |

### Development priorities:

Key work in progress areas:

- RAC migration

- Upgrade to 2.1.7-15

### Advanced Warning of Requirements and Blocking issues:

- Additional test diskservers would help testing of xrootd and atlas conditions data plan (from 18 Aug)

Advance planning:

Week of  18 Aug: 	CIP (castor information provider) upgrade;

DLF DB installs;

repack upgrade to 2.1.7 (with DB);

tape server upgrade to 2.1.7;

test vdqm2 on certification testbed;

test atlas conditions data replication on preprod;

continue xrootd investigations