Tier-1 Operations CASTOR – 13 Oct. 2008

# Service Name

#### CASTOR

## Summary of week gone:

- Continuing set up to investigate/test possible database cross talk

- Investigation into database hardware failure and plan to improve resilience

- Investigation and solution of occasional scheduling slowdown

- Investigation of puppet clients dying

- Disable lhcb on srmv1

- Castor hardware purchase review

- Additional cleanup from lost lhcb files

- Remove lhcb test files

## Developments

- Investigations into possible cross-talk in Oracle and pursue with Oracle if appropriate (Bonny/Chris)

- Test 2.1.7-19-2 on certification testbed (Chris)

- Test LSF patch affecting licenses,  deemed urgent by J Churchill (Chris)

- Test LSF 7.0.2 on certification testbed (Chris)

- Move CIP from preprod server to lcgadm1 host and small CIP bug fix for LCG compliance (Jens)

- Configure srmv2 for minos (Shaun)

- Shutdown srmv1 systems after ops tests disabled (Shaun)

- Test srm 2.7.3 on certification testbed (Shaun/Chris)

- Upgrade tape servers to 2.1.7 (Guy/Tim)

- Get repack server re-installed on gen stager (Tim/Bonny)

- Set up policies for atlas tape families (Bonny)

- Install DLF  (Bonny)

- Plan castor client upgrade (Bonny)

- Ongoing testing of rootd on preprod platform (Jens)

- Test new version of puppet to prevent puppet clients dying (Guy)

- Complete install of atlasNonProd diskservers (Guy)

- Change nagios alert for “LSF unavailable hosts” to exclude server in NonProd classes (Cheney)

- Continue development of diskserver deployment plan

- Review hardware and software for VO monitoring of castor

### Operational Issues and Incidents

| Not in Use (need number scheme?) | Description | Start | End | Severity | VOs Affected |
| --- | --- | --- | --- | --- | --- |
|  | Database lost connection to RAID array | 2/10/08 | 3/10/08 | Databases down, including nameserver | all |
|  | CMS stager slow | 6/10/08 | 6/10/08 | Required DB stats recomputed | CMS |
|  | Emergency intervention to reset and review database RAID array | 7/10/08 12:30 | 7/10/08 16:00 |  | all |

## Summary of plans for week ahead:

### Scheduled and Cancelled Down Times:

#### Type=Down/At Risk/Cancelled entries in/planned to go to GOCDB

| Component | Description | Start | End | Type |
| --- | --- | --- | --- | --- |
| Database | Apply Oracle patches and add memory & CPU to database servers | 14 Oct 07:30 | 15 Oct 13:00 | Down |
| CIP | Move to different host , minor bug fix, add minos config | 15 Oct 13:00 | 15 Oct 17:00 | At risk |
| SRMv1 | Stop ops tests and shutdown service | ? | none | Down - forever |

### Development priorities:

Key work in progress areas:

- Test LSF patch

- Investigate database hardware failure

- Investigate possible crosstalk in Oracle

- Test new puppet version

- Deployment of diskservers

- Get repack running again

- Complete policies for atlas tape families

- Test 2.1.7-19, LSF 7.0.2, srm 2.7.3 on certification

- Plan client upgrade

- Install DLF

### Advanced Warning of Requirements and Blocking issues:

- Cheney reviewing use of SLC3 for non-LHC servers as part of kickstart cleanup

- Need to plan castor client upgrade to get away from old versions

- Problems with failure in communications for diskserver deployment/interventions need resolved

- Getting too many false nagios alerts while diskservers are being deployed

- Problem with database for certification system

Advance planning:

- Retirement of srm-v1 servers now scheduled for ? (Shaun ?)