Tier-1 Operations CASTOR – 27 Oct. 2008

# Service Name

#### CASTOR

## Summary of week gone:

- Review database hardware issues and plans

- Working on problems with preprod platform

- Testing puppet client 0.24.4

- Shutdown srmv1

- Configure srmv2 for minos

- Re-install  repack server on gen stager

- Testing 2.1.7-19-2 on certification testbed

- Investigating issue with rtstat permissions with tape servers on 2.1.7

- Further investigation into xrootd security issues for alice

- Complete testing new version of puppet

- Work on auditing of lhcb lost files

- Update hardware spreadsheet

## Developments

- Begin hardware acquisition to improve Oracle SAN

- Get preprod instances working

- Investigations into possible cross-talk in Oracle and pursue with Oracle if appropriate (Bonny/Chris)

- Monitor for problem with very large id being inserted in database (Shaun)

- Test LSF 7.0.2 on certification testbed (Chris)

- Test srm 2.7.x on certification testbed (Shaun/Chris)

- Complete installation of 64-bit srms (Guy)

- Continue upgrade of tape servers to 2.1.7 (Guy/Tim)

- Test repack; plan to improve efficiency

- Update hardware spreadsheet (Tim and others)

- Continue auditing and cleanup of lhcb lost files (Bonny)

- Set up policies for atlas tape families (Bonny)

- Continue testing of rootd on preprod platform (Jens)

- Work on cleanup of castor test files and directories for atlas (Brian)

- Report where to move atlas diskservers from nonProd (Brian)

- Review hardware and software for VO monitoring of castor

### Operational Issues and Incidents

| Not in Use (need number scheme?) | Description | Start | End | Severity | VOs Affected |
| --- | --- | --- | --- | --- | --- |
|  | Heavy load on atlas FEs led to failed transfers; compounded by network changes to attempt to remove one FE | 18-10-08 | 21-10-08 | SEVERE | Atlas down |
|  | CMS files not migrating and no alarms. | 15/10/08 | 21/10/08 | AVERAGE | CMS |

## Summary of plans for week ahead:

### Scheduled and Cancelled Down Times:

#### Type=Down/At Risk/Cancelled entries in/planned to go to GOCDB

| Component | Description | Start | End | Type |
| --- | --- | --- | --- | --- |
| SRM | Add 2 more atlas srm front-ends to cluster |  |  | At risk |
| Diskservers | Upgrade puppet client on diskservers to 0.24.4 (to be reviewed Mon am) | 28 Oct | 28 Oct 13 | At risk |

### Development priorities:

Key work in progress areas:

- Additional FEs for atlas

- Order new hardware for Oracle SAN

- Investigate possible crosstalk in Oracle

- Puppet upgrade

- Test  LSF 7.0.2, srm 2.7.x on certification

- Deployment of diskservers

- Get repack running again

- Complete audit and cleanup of lhcb lost files

### Advanced Warning of Requirements and Blocking issues:

- Where are gdss66-68?

- Status of gdss153?

- Can we use some spare diskservers for testing crosstalk?

- May need additional diskservers for repack

Advance planning:

- Need to plan castor client upgrade to get away from old versions (next week)