Tier-1 Operations CASTOR – 15 Dec. 2008

# Service Name

#### CASTOR

## Summary of week gone:

- Upgraded atlas instance to 2.1.7-19 & LSF 7.0.2 and moved database back to RAC

- SRMs for 2.7 available for testing by VOs

- Castor302 upgraded to 2.1.7-19 for use by repack

- Order for new SAN hardware submitted to purchasing

- Tune SRMs to handle atlas load: increased db threads, set machine hyperthreading

- Fix diskserver deployments for Viglen06

- Reviewed and corrected diskservers in NonProd which did not get upgraded to 2.1.7-19

### Operational Issues and Incidents

| Not in Use (need number scheme?) | Description | Start | End | Severity | VOs Affected |
| --- | --- | --- | --- | --- | --- |
|  | Gen instance getting errors – due to bad install of gdss156/154 | 11 Dec 20:30 | ? |  | Alice, minos, ilc, mice |
|  | Gen instance lost LSF config | 11 Dec | 11 Dec |  |  |
|  | Atlas SAM failures due to load, with failures in srm database, srm nodes, disk filling on stager /var and scheduler /lsf | Repeatedly from 9 Dec |  | Critical | atlas |

## Summary of plans for week ahead:

### Developments- prioritized

- Consider means of extending disk available on atlas stager and lsf hosts for logging – possibly by breaking mirror of system disk and use second disk for more capacity.  (Tim)

- Upgrade new SRMs to 2.7-12 (Shaun)

- Possibly upgrade hardware for new atlas SRMs (Shaun)

- Development of database for tracking diskservers – to replace spreadsheet (Guy)

- Various config changes:

  - Move diskservers in xNonProd service classes, with diskservers enabled, but LSF queues closed for cms, lhcb, gen

  - close xSpare queues (and create queues where needed) rather than hosts (Chris)

  - set up dteamTest srm storage token on gen srm (Shaun/Jens)

  - set up test cms storage tokens to test new custodial plan (Shaun/Jens)

  - move 3 servers in cmsTest to cmsNonProd, after re-install (Bonny)

- Continue work with atlas to remove files from castor which are dark data (Brian)

- Begin load testing on preprod platforms for cross-talk testing; get tape working (Bonny)

- Set up VO monitoring using James Jackson’s software (Brian)

- Test policies for atlas tape families (Bonny)

- Set up test service classes for cms custodial families plan (Bonny)

- Get host cert for castor302 (Guy)

### Scheduled and Cancelled Down Times:

#### Type=Down/At Risk/Cancelled entries in/planned to go to GOCDB

| Component | Description | Start | End | Type |
| --- | --- | --- | --- | --- |
| lhcb | Switch endpoint for srm-lhcb to new SRMs (2.7-12) | 16-Dec-08 TBD | 16-Dec-08 TBD | At-risk |

Staffing:

Castor oncall person this week is: Bonny

Chris Kruk out until 17 Dec.

22 Dec – 5 Jan: Shaun out

23 Dec – 5 Jan: Jens and Bonny out

24 Dec – 5 Jan: all castor team out, except Chris Kruk, Guy Weatherburn

## Advance planning:

CIP changes scheduled for 13 Jan 09, unless priority is raised, in which case will be done on 6 Jan 09.

### Advanced Warning of Requirements and Blocking issues:

Guy will deploy OS for VO monitoring box so Brian can proceed.

At some time before 22 Dec (TBD) Tim will move 4 tape drives out of castor to be used for installation and testing of new robot.